## List of Goods and Related Servi
List of Goods and Related Services
The purpose of the List of Goods and Related Services (LGRS) is to briefly describe and specify the quantities of each of the Goods and Related Services that the Purchaser requires the Bidder to include in its Bid. As a part of the SR, the LGRS constitutes a Contract document and, therefore, it is a part of the Contract. The Purchaser must prepare the LGRS and include it as a part of the SR.
“The Goods and Related Services are grouped in itemwise/lotwise basis. Bids on individual items are permitted and accepted for itemwise specified schedule whereas for lotwise specified schedule bids on individual items are not permitted, biddingof whole lot should be done.”
Evaluation : Lotwise
Lot 1 : Lab Reagent, Glass, Plastic, and Chemicals
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Lab Reagent, Glass, Plastic, and Chemicals | Appendroff / serum vial 500 ml | Pcs | 11000
2 | Lab Reagent, Glass, Plastic, and Chemicals | Bansen Burner | pcs | 2
3 | Lab Reagent, Glass, Plastic, and Chemicals | Beaker Glass 100 ml | Pcs | 4
4 | Lab Reagent, Glass, Plastic, and Chemicals | Beaker Glass 50 ml | Pcs | 4
5 | Lab Reagent, Glass, Plastic, and Chemicals | Blood Box for Transportation ( 10-15L) | pcs | 15
6 | Lab Reagent, Glass, Plastic, and Chemicals | Blood Grouping Tile ( 30*20 mm) | Pcs | 20
7 | Lab Reagent, Glass, Plastic, and Chemicals | Conical Flask (Glass) Size: 1000 ml | Pcs | 4
8 | Lab Reagent, Glass, Plastic, and Chemicals | Conical Flask (Glass) Size: 500 ml | Pcs | 4
9 | Lab Reagent, Glass, Plastic, and Chemicals | Cover slips ( 1000 pcs pack) (thickness: 0.1-0.2mm) | Box | 85
10 | Lab Reagent, Glass, Plastic, and Chemicals | ESR Needle | Pcs | 15
11 | Lab Reagent, Glass, Plastic, and Chemicals | ESR Tube wintrobe | pcs | 400
12 | Lab Reagent, Glass, Plastic, and Chemicals | Forcep (pointed and blunt) | Pcs | 10
13 | Lab Reagent, Glass, Plastic, and Chemicals | Glass slides, frosted ( 500 pcs pack) one end frosted both sides | Pack | 200
14 | Lab Reagent, Glass, Plastic, and Chemicals | Imersion oil (125 ml bottle ) | Bot | 15
15 | Lab Reagent, Glass, Plastic, and Chemicals | Lancet | pcs | 500
16 | Lab Reagent, Glass, Plastic, and Chemicals | Lens cleansing Tissue (100 sheet pad) | Pack | 15
17 | Lab Reagent, Glass, Plastic, and Chemicals | Lysol 450ml bottle | Bot | 50
18 | Lab Reagent, Glass, Plastic, and Chemicals | Measuring Cylinder ( plastic) Size: 1000 ml | Pcs | 3
19 | Lab Reagent, Glass, Plastic, and Chemicals | Measuring Cylinder (Glass) Size: 500 ml | Pcs | 3
20 | Lab Reagent, Glass, Plastic, and Chemicals | Micro Tips large ( pack of 500 pcs) | Pack | 20
21 | Lab Reagent, Glass, Plastic, and Chemicals | Micro Tips rack (small) | Pcs | 20
22 | Lab Reagent, Glass, Plastic, and Chemicals | Micro Tips small ( pack of 500 pcs) | Pack | 90
23 | Lab Reagent, Glass, Plastic, and Chemicals | Plastic Petri Plates | pcs | 12000
24 | Lab Reagent, Glass, Plastic, and Chemicals | Rotherase powder (500 gm.packets) | pkt | 3
25 | Lab Reagent, Glass, Plastic, and Chemicals | Screw cap sterile vial (3-4 ml) | Pcs | 500
26 | Lab Reagent, Glass, Plastic, and Chemicals | Sod. Hypochloride conc (liquid) 5 litre jar | jar | 50
27 | Lab Reagent, Glass, Plastic, and Chemicals | Spatula | pcs | 10
28 | Lab Reagent, Glass, Plastic, and Chemicals | Sterile swab stick | pcs | 5000
29 | Lab Reagent, Glass, Plastic, and Chemicals | Sterile, wide mouth, plastic container for urine c/s | Pcs | 6000
30 | Lab Reagent, Glass, Plastic, and Chemicals | swab bambo stick (sinka) | pcs | 5000
31 | Lab Reagent, Glass, Plastic, and Chemicals | Test tube rack Plastic (40 position) | Pcs | 2
32 | Lab Reagent, Glass, Plastic, and Chemicals | Test Tube Rack plastic (90 position) | Pcs | 2
33 | Lab Reagent, Glass, Plastic, and Chemicals | Test Tube Rimless (100*12mm) | Pcs | 4000
34 | Lab Reagent, Glass, Plastic, and Chemicals | Timer | pcs | 4
35 | Lab Reagent, Glass, Plastic, and Chemicals | Tongue depressor | pcs | 200
36 | Lab Reagent, Glass, Plastic, and Chemicals | Tripod Stand | pcs | 2
37 | Lab Reagent, Glass, Plastic, and Chemicals | Tube Washing brush ( Test tube brush small and large) as per sample | Pcs | 50
38 | Lab Reagent, Glass, Plastic, and Chemicals | Turniquet Rubber | Pcs | 100
39 | Lab Reagent, Glass, Plastic, and Chemicals | Urine Container (Plastic 10-50 ml) | Pcs | 50000
40 | Lab Reagent, Glass, Plastic, and Chemicals | Wide mouth, glass container for urine c/s | Pcs | 500
41 | Lab Reagent, Glass, Plastic, and Chemicals | Wright Stain (1 pack=500ml) | Pack | 30
42 | Lab Reagent, Glass, Plastic, and Chemicals | Giemsa stain (1 pack=500ml) | Pack | 5
43 | Lab Reagent, Glass, Plastic, and Chemicals | New Methylene Blue (1 bottle=50gms) | bot | 10
44 | Lab Reagent, Glass, Plastic, and Chemicals | DLC cell counter (Manual ) | Pcs | 4
45 | Lab Reagent, Glass, Plastic, and Chemicals | Table lamp ( Microbiology ) | pcs | 2
46 | Lab Reagent, Glass, Plastic, and Chemicals | Improved neubaur chamber | pcs | 4
47 | Lab Reagent, Glass, Plastic, and Chemicals | Xylene 500 ml | Bot | 5
48 | Lab Reagent, Glass, Plastic, and Chemicals | Test Tube Rimless 75X10mm | pcs | 1500
49 | Lab Reagent, Glass, Plastic, and Chemicals | Rapid Pap stain set | set | 5
50 | Lab Reagent, Glass, Plastic, and Chemicals | Diamond Pencil | pcs | 4
51 | Lab Reagent, Glass, Plastic, and Chemicals | Electric Loop steriliser | pcs | 1
52 | Lab Reagent, Glass, Plastic, and Chemicals | Sample Cup | pcs | 10000
53 | Lab Reagent, Glass, Plastic, and Chemicals | Sterile Test tube swab with cap | pcs | 1000
54 | Lab Reagent, Glass, Plastic, and Chemicals | WBC diluting Fluid | ml | 1000
55 | Lab Reagent, Glass, Plastic, and Chemicals | RBC diluting Fluid | ml | 500
56 | Lab Reagent, Glass, Plastic, and Chemicals | Platelet Diluting Fluid | ml | 1000
57 | Lab Reagent, Glass, Plastic, and Chemicals | Ethyl Alcohol 95% | ml | 5000
58 | Lab Reagent, Glass, Plastic, and Chemicals | Cover slip for cytology | pcs | 1000
Evaluation : Lotwise
Lot. 2 : Serology-A HIV/HBSAG/HCV
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Serology-A HIV/HBSAG/HCV | HBsAg Rapid test Device | Tests | 10000
2 | Serology-A HIV/HBSAG/HCV | HCV Rapid Test Device | Tests | 10000
3 | Serology-A HIV/HBSAG/HCV | HIV Rapid Test Device | Tests | 10000
Evaluation : Lotwise
Lot. 3 : Serology-B (RA, ASO, CRP ) USFDA/ CE approved
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Serology-B (RA, ASO, CRP ) USFDA/ CE approved | ASO Latex (Complete Kit) 100 test= 5 ML=1vial | Vial | 80
2 | Serology-B (RA, ASO, CRP ) USFDA/ CE approved | CRP Latex ( Complete Kit)100 test = 5 ML=1vial | Vial | 80
3 | Serology-B (RA, ASO, CRP ) USFDA/ CE approved | RA latex ( Complete Kit) 100 test= 5ML=1vial | Vial | 80
Note: 1 vial= 5ml
Evaluation : Lotwise
Lot. 4 : SEROLOGY C USFDA/CE approved
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | SEROLOGY C USFDA/CE approved | Blood Group (ABD) sera set ( 10 ml each vial) | set | 600
2 | SEROLOGY C USFDA/CE approved | Coomb's sera ( 10 ml each vial ) | Vial | 10
3 | SEROLOGY C USFDA/CE approved | Gel Card (X-Match)- (1 x 24) | Box | 50
4 | SEROLOGY C USFDA/CE approved | Occult blood device (SPOT) | Test | 800
5 | SEROLOGY C USFDA/CE approved | PPD for Mantoux Test 5 ml vial | Vial | 8
6 | SEROLOGY C USFDA/CE approved | Widal Test Kit ( Set of 5 ml each) | Set | 4
8 | SEROLOGY C USFDA/CE approved | ABORH forward and reverse grouping with auto card 1*24 | set | 10
9 | SEROLOGY C USFDA/CE approved | A1 cells | vial | 2
10 | SEROLOGY C USFDA/CE approved | B cells | vial | 2
Note: ABD Anti Sera Should be Single Packed .
Evaluation : Lotwise
Lot 5 : Bacteriology: Media and Antibiotic Disc
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Bacteriology: Media and Antibiotic Disc | Amikacin Disc (50 discs tube/vial) | Card | 50
2 | Bacteriology: Media and Antibiotic Disc | Amox+CA Disc (50 discs tube/vial) | Card | 50
3 | Bacteriology: Media and Antibiotic Disc | Amoxycillin Disc (50 discs tube/vial) | Card | 50
4 | Bacteriology: Media and Antibiotic Disc | Ampicillin Disc (50 discs tube/vial) | Card | 50
5 | Bacteriology: Media and Antibiotic Disc | Azithromycin Disc (50 discs tube/vial) | Card | 50
6 | Bacteriology: Media and Antibiotic Disc | Bacitracin 0.04 ug Disc (50 discs tube/vial) | Card | 50
7 | Bacteriology: Media and Antibiotic Disc | Bacitracin 10 ug Disc (50 discs tube/vial) | Card | 20
8 | Bacteriology: Media and Antibiotic Disc | Ampicillin sulbactum (50 discs tube/vial) | Card | 40
9 | Bacteriology: Media and Antibiotic Disc | Aztraonam (50 discs tube/Vial) | Card | 20
10 | Bacteriology: Media and Antibiotic Disc | Carbencillin Disc (50 discs tube/vial) | Card | 20
11 | Bacteriology: Media and Antibiotic Disc | Cefoxitin Disc (50 discs tube/vial ) | Card | 20
12 | Bacteriology: Media and Antibiotic Disc | Ceftazidime Disc (50 discs tube/vial) | Card | 50
13 | Bacteriology: Media and Antibiotic Disc | Ceftriaxone Disc (50 discs tube/vial) | Card | 50
14 | Bacteriology: Media and Antibiotic Disc | Cephalexin Disc (50 discs tube/vial) | Card | 40
15 | Bacteriology: Media and Antibiotic Disc | Chloramphenicol Disc (50 discs tube/vial) | Card | 30
16 | Bacteriology: Media and Antibiotic Disc | Ciprofloxacillin Disc (50 discs tube/vial) | Card | 60
17 | Bacteriology: Media and Antibiotic Disc | Clindamycin Disc (50 discs tube/vial) | Card | 50
18 | Bacteriology: Media and Antibiotic Disc | Colistin Sulphate Disc (50 discs tube/vial) | Card | 40
19 | Bacteriology: Media and Antibiotic Disc | Cloxacillin Disc (50 discs tube/vial) | Card | 50
20 | Bacteriology: Media and Antibiotic Disc | Cotrimoxazole Disc (50 discs tube/vial) | Card | 50
21 | Bacteriology: Media and Antibiotic Disc | Cephazolin Discs (50 discs tube/vial) | Card | 50
22 | Bacteriology: Media and Antibiotic Disc | Erthyromycin Disc (50 discs tube/vial) | Card | 50
23 | Bacteriology: Media and Antibiotic Disc | Gentamycin Disc (50 discs tube/vial) | Card | 80
24 | Bacteriology: Media and Antibiotic Disc | Imipenum Disc (50 discs tube/vial) | Card | 50
25 | Bacteriology: Media and Antibiotic Disc | Cefepime Disc (50 Discs Tube/vial) | Card | 60
26 | Bacteriology: Media and Antibiotic Disc | Meropenum Disc (50 discs tube/vial) | Card | 80
27 | Bacteriology: Media and Antibiotic Disc | Methicillin Disc (50 discs tube/vial) | Card | 50
28 | Bacteriology: Media and Antibiotic Disc | Metronidazole | Card | 40
29 | Bacteriology: Media and Antibiotic Disc | Cefotaxime Disc (50 discs tube/ vial) | Card | 60
30 | Bacteriology: Media and Antibiotic Disc | Nalidixic Acid Disc (50 discs tube/vial) | Card | 40
31 | Bacteriology: Media and Antibiotic Disc | Nitrofurantoin Disc (50 discs tube/vial) | Card | 80
32 | Bacteriology: Media and Antibiotic Disc | Clarithromycin Disc (50 discs tube/vial) | Card | 20
33 | Bacteriology: Media and Antibiotic Disc | Norfloxacin Disc (50 discs tube/vial) | Card | 80
34 | Bacteriology: Media and Antibiotic Disc | Novobiocin Disc (50 discs tube/vial) | Card | 80
35 | Bacteriology: Media and Antibiotic Disc | Ofloxacin Disc ( 50 discs tube/vial) | Card | 80
36 | Bacteriology: Media and Antibiotic Disc | Optochin 5 ug Disc (50 discs tube/vial) | Card | 50
37 | Bacteriology: Media and Antibiotic Disc | Penicillin G Disc (50 discs tube/vial) | Card | 40
38 | Bacteriology: Media and Antibiotic Disc | Oxacillin Disc (50 discs tube/vial) | Card | 50
39 | Bacteriology: Media and Antibiotic Disc | Tobramycin Disc (50 discs tube/vial) | Card | 40
40 | Bacteriology: Media and Antibiotic Disc | Doxycyline Disc (50 discs tube/vial) | Card | 50
41 | Bacteriology: Media and Antibiotic Disc | Cefoperazone Disc (50 discs tube/vial) | Card | 50
42 | Bacteriology: Media and Antibiotic Disc | Oxidase Paper (Readymade) | Vails | 50
43 | Bacteriology: Media and Antibiotic Disc | Cefpodoxine Disc (50 discs tube/vial) | Card | 50
44 | Bacteriology: Media and Antibiotic Disc | Piperacillin Disc (50 discs tube/vial) | Card | 50
45 | Bacteriology: Media and Antibiotic Disc | Piperacillin Tazobactem Disc (50 discs tube/vial) | Card | 80
46 | Bacteriology: Media and Antibiotic Disc | Polymixin B Disc (50 discs tube/vial) | Card | 50
47 | Bacteriology: Media and Antibiotic Disc | Vancomycin Disc (50 discs tube/vial) | Card | 60
48 | Bacteriology: Media and Antibiotic Disc | Levofloxacin Disc (50 discs tube/vial) | Card | 60
49 | Bacteriology: Media and Antibiotic Disc | Teicoplanin Disc (50 discs tube/vial) | Card | 60
50 | Bacteriology: Media and Antibiotic Disc | Tigecycline (50 discs tube/vial) | Card | 10
51 | Bacteriology: Media and Antibiotic Disc | Linezoid Disc (50 discs tube/vial) | Card | 60
52 | Bacteriology: Media and Antibiotic Disc | Ceftaxizime + clavulanic acid Disc | card | 60
53 | Bacteriology: Media and Antibiotic Disc | Tetracycline Disc (50 discs tube/vial) | Card | 50
54 | Bacteriology: Media and Antibiotic Disc | Blood Agar Base | Gram | 3000
55 | Bacteriology: Media and Antibiotic Disc | BHI Broth | Gram | 1000
56 | Bacteriology: Media and Antibiotic Disc | Cled Medium | Gram | 2000
57 | Bacteriology: Media and Antibiotic Disc | Macconkey Agar | Gram | 6000
58 | Bacteriology: Media and Antibiotic Disc | Muller Hinton Agar | Gram | 6000
59 | Bacteriology: Media and Antibiotic Disc | Nutrient Agar | Gram | 500
60 | Bacteriology: Media and Antibiotic Disc | Simmon Citrate | Gram | 1000
61 | Bacteriology: Media and Antibiotic Disc | TSI Media | Gram | 1000
62 | Bacteriology: Media and Antibiotic Disc | Urease Media | Gram | 1000
63 | Bacteriology: Media and Antibiotic Disc | SIM Media | Gram | 1000
64 | Bacteriology: Media and Antibiotic Disc | MRVP Media | Gram | 1000
65 | Bacteriology: Media and Antibiotic Disc | SDA Media | Gram | 1000
66 | Bacteriology: Media and Antibiotic Disc | Urea Pure | Gram | 1000
67 | Bacteriology: Media and Antibiotic Disc | Kovac' Reagent | ml | 500
68 | Bacteriology: Media and Antibiotic Disc | Agar Powder (extra pure) | Gram | 500
69 | Bacteriology: Media and Antibiotic Disc | Ready Prepare BHI Broth with 0.05 sps (20 Ml Vial) | Botl | 6000
70 | Bacteriology: Media and Antibiotic Disc | Gram Stain Reagent set (250 ml each vial) | set | 20
71 | Bacteriology: Media and Antibiotic Disc | ZN/AFB stain | set | 20
72 | Bacteriology: Media and Antibiotic Disc | Blood culture Bottle Glass (50 ml ) | botl | 500
73 | Bacteriology: Media and Antibiotic Disc | Oxidative/Fermentative Media | Gram | 500
74 | Bacteriology: Media and Antibiotic Disc | Highcrome UTI Agar modified medium | gm | 500
75 | Bacteriology: Media and Antibiotic Disc | Straight wire (Nichrome) | Pack | 12
76 | Bacteriology: Media and Antibiotic Disc | Innoculating Loop : Diameter 4mm and 2 mm (1 Pack=10 pcs) | Pack | 20
77 | Bacteriology: Media and Antibiotic Disc | Anerobic jar | pcs | 1
78 | Bacteriology: Media and Antibiotic Disc | Glass lens | pcs | 2
79 | Bacteriology: Media and Antibiotic Disc | Wire loop with handle | pcs | 14
80 | Bacteriology: Media and Antibiotic Disc | Chromagar (Selective medium for acinetobacter) | gms | 1000
81 | Bacteriology: Media and Antibiotic Disc | Crystal Voilet-Nalidixic acid-Gentamicin Agar | gms | 500
82 | Bacteriology: Media and Antibiotic Disc | Xylose Lysine Deoxycholate Agar | gms | 500
83 | Bacteriology: Media and Antibiotic Disc | MR-VP Medium:a) Methyl red b) Alpha naphthol c) KOH | gms | 500
84 | Bacteriology: Media and Antibiotic Disc | Salmonella Shigella Agar | gms | 500
85 | Bacteriology: Media and Antibiotic Disc | Hugh and Leifson Agar | gms | 500
86 | Bacteriology: Media and Antibiotic Disc | Thiosulfate-Citrate-Bile salts-Sucrose (TCBS) Agar | gms | 500
87 | Bacteriology: Media and Antibiotic Disc | Loop Stand/Holder | pcs | 2
88 | Bacteriology: Media and Antibiotic Disc | Nutrient Broth | Gram | 500
Evaluation : Lotwise
Lot 6 : PIPETTES
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | PIPETTES | 1 ml fixed vol micropippete | Pcs | 4
2 | PIPETTES | 100 µl fixed volume Micro-pippette | Pcs | 4
3 | PIPETTES | 50 micro l. fixed volume Micro-pipette | Pcs | 4
4 | PIPETTES | 10-100 µl fixed volume Micro-pippette | Pcs | 4
5 | PIPETTES | Variable vol micropippette 50 -200 microliter | Pcs | 5
6 | PIPETTES | Variable volume micropippette 200 - 1000 microliter | Pcs | 4
7 | PIPETTES | Variable volume micropippette 5-50 microliter | Pcs | 4
8 | PIPETTES | 500 micro l. fixed volume Micro-pipette | Pcs | 3
Evaluation : Lotwise
Lot 7 : (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved
A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent | Cell Lyzer for sysmex or equivalent Kx 21, 500ml | Bot | 60
2 | (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent | Cell pack for sysmex or equivalent kx 21, 20l pack | Pack | 60
3 | (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent | Hematology control low/normal /high, 3 parts diff 5-5ml set | Set | 4
4 | (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent | Cell clean 50ml | Bot | 20
Evaluation : Lotwise
Lot 8 : (Lab Reagent ) Haematology Analyzer 5 parts,
HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | (Lab Reagent ) Haematology Analyzer 5 parts,HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved | Auto clean 40ml | Bot | 15
2 | (Lab Reagent ) Haematology Analyzer 5 parts,HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved | Cell Pack DCL (20 ltr) | Pack | 160
3 | (Lab Reagent ) Haematology Analyzer 5 parts,HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved | Flurocell 42 ml | Bot | 70
4 | (Lab Reagent ) Haematology Analyzer 5 parts,HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved | Lysercell WDF (5 ltr) | Bot | 45
5 | (Lab Reagent ) Haematology Analyzer 5 parts,HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved | Sulfolyser 5ltr | Bot | 15
Evaluation : Lotwise
Lot 9 : (Lab Reagent ) Haematology Analyzer 5 parts,
HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Auto clean 40ml | Bot | 15
2 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Cell Pack DCL (20 ltr) | Pack | 80
3 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Flurocell WDF 42 ml | Bot | 30
4 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Flurocell WNR 82 ml | Bot | 5
5 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Lysercell WDF (5 ltr) | Jar | 35
6 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Lysercell WNR (5 ltr) | Jar | 3
7 | (Lab Reagent ) Haematology Analyzer 5 parts, HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved | Sulfolyser 5ltr | Bot | 13
Lot 10 : Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | APTT reagent (Activator) | Vial | 500
2 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Ca cuvette for CA 600 Series | pcs | 60000
3 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Calcuim Chloride for APTT (15ml vial) | Bot | 100
4 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Cell Claen I ( 1 bot = 50ml) Symex or equivalent | Bot | 220
5 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Cell Claen II ( 1 bot=50ml) Symex or equivalent | Bot | 120
6 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | OV Buffer ( 1 Vial + 15ml) Symex or evuivalent | Vial | 190
7 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | PT (ISI 0.9-1.0) Vial size: 1vial=4ml | Vial | 2000
8 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | PT/APTT Abnormal Control Plasma (Level 2) | ml | 3
9 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | PT/APTT Normal Control Plasma (Level 1) | ml | 3
10 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Cuvettes for PT (Manual) | Pcs | 5000
11 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Thrombin reagent (5ml) | Vial | 50
12 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Multifibrin U (2ml) | Vial | 40
13 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Standard Human Plasma (1ml) | Vial | 41
14 | Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved | Fibrinogen calibrator kit (1ml) | Vial | 25
Evaluation : Lotwise
Lot 11 : VACCUM COLLECTION SYSTEM
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | VACCUM COLLECTION SYSTEM | 2 ml with 3.2% Tri-Sodium Citrate, vaccum tube | Pcs | 60000
2 | VACCUM COLLECTION SYSTEM | 2-4 ml with Di- or Tri-potassium EDTA, vaccum tube | Pcs | 160000
3 | VACCUM COLLECTION SYSTEM | 6 ml with separator gel and clot activator vaccum tube | Pcs | 200000
4 | VACCUM COLLECTION SYSTEM | Pediatric 3.2% Trisodium citrate vaccum tube | PCs | 1000
5 | VACCUM COLLECTION SYSTEM | Holder for vaccum collection | Pcs | 100
6 | VACCUM COLLECTION SYSTEM | Vaccum Collection Needle 21 and 22 gauge with flashback | Pcs | 160000
7 | VACCUM COLLECTION SYSTEM | Pediatric Needle(slbcs or Equivalent) | Pcs | 500
8 | VACCUM COLLECTION SYSTEM | Pediatric gel separator and clot activator vaccum tube | Pcs | 1000
9 | VACCUM COLLECTION SYSTEM | Pediatric Di-tri potassium EDTA vaccum tube | Pcs | 1000
Evaluation : Lotwise
Lot 12 : Blood Bag (European CE/USFDA Approved)
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Blood Bag (European CE/USFDA Approved) | Quadruple Blood Bag 450+300+400ml x 2, 16G (CPDA+SAGM) | Pcs | 5000
2 | Blood Bag (European CE/USFDA Approved) | Single Blood Bag 350ml 16G, (49ml CPDA) 16 | Pcs | 1500
Evaluation : Lotwise
Lot 13 : Lab Reagents For CLIA
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Lab Reagents For CLIA | Hbsag | test | 500
2 | Lab Reagents For CLIA | HCV | test | 500
3 | Lab Reagents For CLIA | HIV | test | 500
4 | Lab Reagents For CLIA | FT3 | Test | 60000
5 | Lab Reagents For CLIA | FT4 | test | 60000
6 | Lab Reagents For CLIA | TSH | test | 60000
7 | Lab Reagents For CLIA | Infectious Control P and N | set | 12
8 | Lab Reagents For CLIA | Immunoassay control | Set | 12
9 | Lab Reagents For CLIA | Ferritin | Test | 2000
10 | Lab Reagents For CLIA | High Sensitivity Troponin I | Test | 1000
11 | Lab Reagents For CLIA | Vitamin B12 | Test | 5000
12 | Lab Reagents For CLIA | Vitamin D | Test | 7000
13 | Lab Reagents For CLIA | Anti TPO antibody | Test | 1500
14 | Lab Reagents For CLIA | Anti Hbs antibody | Test | 800
Evaluation : Lotwise
Lot 14: Biochemistry Liquid Chemistry automation
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Biochemistry Liquid Chemistry automation | Albumin | Test | 32000
2 | Biochemistry Liquid Chemistry automation | Alkaline Phosphatase | Test | 40000
3 | Biochemistry Liquid Chemistry automation | Amylase | Test | 4000
4 | Biochemistry Liquid Chemistry automation | calcium | Test | 8000
5 | Biochemistry Liquid Chemistry automation | CKMB | Test | 30000
6 | Biochemistry Liquid Chemistry automation | CPK | Test | 8000
7 | Biochemistry Liquid Chemistry automation | Creatinine (sacrosa) Sox Enzymatic Method | Test | 150000
8 | Biochemistry Liquid Chemistry automation | Direct Billirubin | Test | 35000
9 | Biochemistry Liquid Chemistry automation | Direct HDL Cholesterol | Test | 70000
10 | Biochemistry Liquid Chemistry automation | Glucose (Hexokinase) Method | Test | 130000
11 | Biochemistry Liquid Chemistry automation | GOT | Test | 40000
12 | Biochemistry Liquid Chemistry automation | GPT | Test | 40000
13 | Biochemistry Liquid Chemistry automation | Total Protein | Test | 40000
14 | Biochemistry Liquid Chemistry automation | Total Bilirubin | Test | 40000
15 | Biochemistry Liquid Chemistry automation | Total Cholestrol | Test | 70000
16 | Biochemistry Liquid Chemistry automation | Triglyceride | Test | 70000
17 | Biochemistry Liquid Chemistry automation | Urea | Test | 120000
18 | Biochemistry Liquid Chemistry automation | Direct LDL | Test | 10000
19 | Biochemistry Liquid Chemistry automation | Uric Acid | Test | 60000
20 | Biochemistry Liquid Chemistry automation | Magnesium | Test | 2000
Evaluation : Lotwise
Lot 15:Miscellaneous (itemwise evaluation)
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Miscellaneous (itemwise evaluation) | Troponin I(Qualitative) | test | 30000
Lot 16: Biochemistry
Evaluation : Lotwise
Biochemistry Automation
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Biochemistry Automation | Albumin | Test | 2000
2 | Biochemistry Automation | Alkaline Phosphatase | Test | 2000
3 | Biochemistry Automation | Calcium | Test | 2000
4 | Biochemistry Automation | CKMB | Test | 2000
5 | Biochemistry Automation | Creatinine- Sox Enzymatic Method | Test | 30000
6 | Biochemistry Automation | Direct Billirubin | Test | 5000
7 | Biochemistry Automation | Direct HDL Cholesterol | Test | 10000
8 | Biochemistry Automation | Glucose- Hexokinase | Test | 30000
9 | Biochemistry Automation | GOT | Test | 5000
10 | Biochemistry Automation | GPT | Test | 5000
11 | Biochemistry Automation | Total Protein | Test | 5000
12 | Biochemistry Automation | Total Bilirubin | Test | 5000
13 | Biochemistry Automation | Serum Iron | Test | 5000
14 | Biochemistry Automation | UIBC/TIBC | Test | 5000
15 | Biochemistry Automation | Transferrin | Test | 5000
16 | Biochemistry Automation | Total Cholestrol | Test | 10000
17 | Biochemistry Automation | Triglyceride | Test | 10000
18 | Biochemistry Automation | Uric Acid | Test | 5000
19 | Biochemistry Automation | Urea | Test | 20000
Evaluation : Iotwise
Lot 17: Miscellaneous
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Miscellaneous | BIO RAD or Randox control (12 botl per set) | Set | 10
2 | Miscellaneous | BIO RAD or Randox control (12 botl per set) | Set | 10
Evaluation : Iotwise
Lot 18 : Miscellaneous
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Miscellaneous | Uristix (100 Tests) | test | 45000
2 | Miscellaneous | Multistix (100 Tests) | test | 100
Evaluation : Itemwise
Lot 19 : Miscellaneous
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Miscellaneous | Bactec Bottle/ Blood C/S Bottle | BOT. | 2000
Evaluation : Lotwise
Lot 20 : FIA System/ FIA Meter
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | FIA System/ FIA Meter | Troponin I Quantitative | Test | 3000
2 | FIA System/ FIA Meter | BNP (Nt-PRoBNP) | test | 21000
3 | FIA System/ FIA Meter | HSCRP | test | 200
4 | FIA System/ FIA Meter | HBAIC | Test | 500
5 | FIA System/ FIA Meter | Urine microalbumin | test | 600
6 | FIA System/ FIA Meter | Procalcitonin | test | 7000
7 | FIA System/ FIA Meter | Quantitative CRP | testy | 6000
8 | FIA System/ FIA Meter | D_dimer | test | 1200
Evaluation : Lotwise
Lot 21 : Lab Reagents For CLIA
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Lab Reagents For CLIA | Hbsag | test | 20000
2 | Lab Reagents For CLIA | HCV | test | 20000
3 | Lab Reagents For CLIA | HIV | test | 20000
4 | Lab Reagents For CLIA | Infectious control | Set | 12
5 | Lab Reagents For CLIA | NT_Pro BNP | test | 450
6 | Lab Reagents For CLIA | Renin | test | 200
7 | Lab Reagents For CLIA | Aldosterone | test | 200
8 | Lab Reagents For CLIA | ACTH | test | 200
Evaluation : Lotwise
Lot 22 :Electrolyte Reagent
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Electrolyte Reagent | Electrolyte Reagent Set (Min. 1 set = 750 tests) | set | 300
Evaluation : Lotwise
Lot 23 : Reagent for JOKOH
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Reagent for JOKOH | Standard solution 1 | pack | 30
2 | Reagent for JOKOH | Standard solution 2 | pack | 30
3 | Reagent for JOKOH | Urine diluent | pack | 5
4 | Reagent for JOKOH | Urine calibrator | set | 5
5 | Reagent for JOKOH | Sample cup | pcs | 6000
Evaluation : Lotwise
Lot.24 : Rapid Test Kit
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Rapid Test Kit | Syphilis Rapid Test Device | Tests | 10000
2 | Rapid Test Kit | Tuberculosis antibody Rapid Test Device | Tests | 200
3 | Rapid Test Kit | Dengue Rapid Test Device | Tests | 1500
4 | Rapid Test Kit | Malaria Rapid Test Device | Tests | 200
5 | Rapid Test Kit | Scrub Typhus Rapid Test Device | Tests | 200
6 | Rapid Test Kit | Leishmania Rapid Test Device | Tests | 200
7 | Rapid Test Kit | Brucella antibody Rapid Test Device | Tests | 200
8 | Rapid Test Kit | Leptospira antibody Rapid Test Device | Tests | 200
9 | Rapid Test Kit | Campylobacter Rapid test device | Tests | 200
10 | Rapid Test Kit | H.pylori Antigen Rapid Test Device | Tests | 200
11 | Rapid Test Kit | H.pylori Antibody Rapid Test Device | Tests | 200
Evaluation : Lotwise
Lot 25 :EQAS-USFDA Approved-1 Year Program
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | EQAS-USFDA Approved-1 Year Program | Eqas Clinical Chemistry (Including cardiac markers) | Set | 1
2 | EQAS-USFDA Approved-1 Year Program | Eqas Hematology | Set | 1
3 | EQAS-USFDA Approved-1 Year Program | Eqas Infectious pannel (HIV,HBsAg, HCV) | Set | 1
4 | EQAS-USFDA Approved-1 Year Program | Eqas Immunoassay (For TFT) | Set | 1
5 | EQAS-USFDA Approved-1 Year Program | Eqas HBA1C | Set | 1
6 | EQAS-USFDA Approved-1 Year Program | Eqas Coagulation | Set | 1
Lot 26: ESR automation
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | ESR automation | ESR test | test | 15000
Evaluation : item wise
Lot 27 : Other Lab related items and reagents.
Item No. | Name of Goods or Related Services | Description | Unit of Measurement | Quantity
1 | Other Lab related items and reagents. | Semi Automated Biochemistry Analyser 1. Product should be CE certified 2. Product should have on board thermal printer 3. One attached or inbuilt incubation should be provided having at least 12 cuvette capacity along with machine 4. Display should be touch screen 5. Multipoint calibration system and graphical representation should be present. 6. USB connectivity to external printer and pC should be present 7. Comprehensive Warranty of 3 years should be provided |  | 1
2 | Other Lab related items and reagents. | Urine VMA | test | 300
3 | Other Lab related items and reagents. | LDH (25ml pack size) | pack | 10
4 | Other Lab related items and reagents. | ADA | pack | 10
5 | Other Lab related items and reagents. | High Speed Centrifuse 1. Product should be CE certified 2. Product should have micro computer control and electronic lock and AC variable conversion motor 3. Product should have feature of unbalace cutoff with indication 4. Minimum speed should be 4000rpm 5.Tube capacity should be at least 90 tube capacity 6. Comprehensive Warranty of 3 years should be provided | pcs | 1
6 | Other Lab related items and reagents. | Microscope 1. Binocular microscope with USFDA certification. 2. Blue ray filter should be provided 3. Comprehensive Warranty of 1 years should be provided | pc | 1
7 | Other Lab related items and reagents. | CBC Roller | pc | 2
8 | Other Lab related items and reagents. | Rotary Shaker (VDRL Shaker) | pc | 2
9 | Other Lab related items and reagents. | Dry Water Bath of capacity more than 15 tubes | pc | 2
10 | Other Lab related items and reagents. | Electric Plate Heater for Microbiology 1. Power indicator should be present 2. Heat control knob or switch should be present to adjust required temperature 3. Digital display should be present 4. Hot top indicator should be present | pc | 2
11 | Other Lab related items and reagents. | Bench top centrifuge 1. Product should be CE certified 2. Tube capacity should be at least 45 tube. 3. Product should have feature of unbalace cutoff with indication 4. Minimum speed should be 4000rpm 5.Product should be carbon free 6. Comprehensive Warranty of 2 years should be provided | pc | 1
12 | Other Lab related items and reagents. | Phosphate Buffer Saline | ml | 33000

## Price Schedule for Goods
Price Schedule for Goods
The Bidder shall fill in these Price Schedule Forms in accordance with the instructions indicated. The list of line items in column 1 of the Price Schedules shall coincide with the List of Goods and Related Services specified by the Purchaser in the Schedule of Requirements
Evaluation : Lotwise
Lot 1 : Lab Reagent, Glass, Plastic, and Chemicals
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Appendroff / serum vial 500 ml |  | 11000
2 | Bansen Burner |  | 2
3 | Beaker Glass 100 ml |  | 4
4 | Beaker Glass 50 ml |  | 4
5 | Blood Box for Transportation ( 10-15L) |  | 15
6 | Blood Grouping Tile ( 30*20 mm) |  | 20
7 | Conical Flask (Glass) Size: 1000 ml |  | 4
8 | Conical Flask (Glass) Size: 500 ml |  | 4
9 | Cover slips ( 1000 pcs pack) (thickness: 0.1-0.2mm) |  | 85
10 | ESR Needle |  | 15
11 | ESR Tube wintrobe |  | 400
12 | Forcep (pointed and blunt) |  | 10
13 | Glass slides, frosted ( 500 pcs pack) one end frosted both sides |  | 200
14 | Imersion oil (125 ml bottle ) |  | 15
15 | Lancet |  | 500
16 | Lens cleansing Tissue (100 sheet pad) |  | 15
17 | Lysol 450ml bottle |  | 50
18 | Measuring Cylinder ( plastic) Size: 1000 ml |  | 3
19 | Measuring Cylinder (Glass) Size: 500 ml |  | 3
20 | Micro Tips large ( pack of 500 pcs) |  | 20
21 | Micro Tips rack (small) |  | 20
22 | Micro Tips small ( pack of 500 pcs) |  | 90
23 | Plastic Petri Plates |  | 12000
24 | Rotherase powder (500 gm.packets) |  | 3
25 | Screw cap sterile vial (3-4 ml) |  | 500
26 | Sod. Hypochloride conc (liquid) 5 litre jar |  | 50
27 | Spatula |  | 10
28 | Sterile swab stick |  | 5000
29 | Sterile, wide mouth, plastic container for urine c/s |  | 6000
30 | swab bambo stick (sinka) |  | 5000
31 | Test tube rack Plastic (40 position) |  | 2
32 | Test Tube Rack plastic (90 position) |  | 2
33 | Test Tube Rimless (100*12mm) |  | 4000
34 | Timer |  | 4
35 | Tongue depressor |  | 200
36 | Tripod Stand |  | 2
37 | Tube Washing brush ( Test tube brush small and large) as per sample |  | 50
38 | Turniquet Rubber |  | 100
39 | Urine Container (Plastic 10-50 ml) |  | 50000
40 | Wide mouth, glass container for urine c/s |  | 500
41 | Wright Stain (1 pack=500ml) |  | 30
42 | Giemsa stain (1 pack=500ml) |  | 5
43 | New Methylene Blue (1 bottle=50gms) |  | 10
44 | DLC cell counter (Manual ) |  | 4
45 | Table lamp ( Microbiology ) |  | 2
46 | Improved neubaur chamber |  | 4
47 | Xylene 500 ml |  | 5
48 | Test Tube Rimless 75X10mm |  | 1500
49 | Rapid Pap stain set |  | 5
50 | Diamond Pencil |  | 4
51 | Electric Loop steriliser |  | 1
52 | Sample Cup |  | 10000
53 | Sterile Test tube swab with cap |  | 1000
54 | WBC diluting Fluid |  | 1000
55 | RBC diluting Fluid |  | 500
56 | Platelet Diluting Fluid |  | 1000
57 | Ethyl Alcohol 95% |  | 5000
58 | Cover slip for cytology |  | 1000
Total
VAT
Grand Total
Evaluation : Lotwise
Lot. 2 : Serology-A HIV/HBSAG/HCV
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | HBsAg Rapid test Device |  | 10000
2 | HCV Rapid Test Device |  | 10000
3 | HIV Rapid Test Device |  | 10000
Total
VAT
Grand Total
Note:
HIV Rapid Test Device should be USFDA approved
HBsAg Rapid Test Device should detect all the 11 subtype of HBsAg. Should be WHO evaluated.
HCV Rapid Test Device -should be of 4th generation and must detect HCV antigens for Core, NS3, NS4 and NS5
Evaluation : Lotwise
Lot. 3 : Serology-B (RA, ASO, CRP ) USFDA/ CE approved
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | ASO Latex (Complete Kit) 100 test= 5 ML=1vial |  | 80
2 | CRP Latex ( Complete Kit)100 test = 5 ML=1vial |  | 80
3 | RA latex ( Complete Kit) 100 test= 5ML=1vial |  | 80
| Note: 1 vial= 5ml |  |  |  | Total
VAT
Grand Total
Evaluation : Lotwise
Lot. 4 : SEROLOGY C USFDA/CE approved
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Blood Group (ABD) sera set ( 10 ml each vial) |  | 600
2 | Coomb's sera ( 10 ml each vial ) |  | 10
3 | Gel Card (X-Match)- (1 x 24) |  | 50
4 | Occult blood device (SPOT) |  | 800
5 | PPD for Mantoux Test 5 ml vial |  | 8
6 | Widal Test Kit ( Set of 5 ml each) |  | 4
7 | ABORH forward and reverse grouping with auto card 1*24 |  | 10
8 | A1 cells |  | 2
9 | B cells |  | 2
Note: ABD Anti Sera Should be Single Packed .
Total
VAT
Grand Total
Evaluation : Lotwise
Lot 5 : Bacteriology: Media and Antibiotic Disc
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Amikacin Disc (50 discs tube/vial) |  | 50
2 | Amox+CA Disc (50 discs tube/vial) |  | 50
3 | Amoxycillin Disc (50 discs tube/vial) |  | 50
4 | Ampicillin Disc (50 discs tube/vial) |  | 50
5 | Azithromycin Disc (50 discs tube/vial) |  | 50
6 | Bacitracin 0.04 ug Disc (50 discs tube/vial) |  | 50
7 | Bacitracin 10 ug Disc (50 discs tube/vial) |  | 20
8 | Ampicillin sulbactum (50 discs tube/vial) |  | 40
9 | Aztraonam (50 discs tube/Vial) |  | 20
10 | Carbencillin Disc (50 discs tube/vial) |  | 20
11 | Cefoxitin Disc (50 discs tube/vial ) |  | 20
12 | Ceftazidime Disc (50 discs tube/vial) |  | 50
13 | Ceftriaxone Disc (50 discs tube/vial) |  | 50
14 | Cephalexin Disc (50 discs tube/vial) |  | 40
15 | Chloramphenicol Disc (50 discs tube/vial) |  | 30
16 | Ciprofloxacillin Disc (50 discs tube/vial) |  | 60
17 | Clindamycin Disc (50 discs tube/vial) |  | 50
18 | Colistin Sulphate Disc (50 discs tube/vial) |  | 40
19 | Cloxacillin Disc (50 discs tube/vial) |  | 50
20 | Cotrimoxazole Disc (50 discs tube/vial) |  | 50
21 | Cephazolin Discs (50 discs tube/vial) |  | 50
22 | Erthyromycin Disc (50 discs tube/vial) |  | 50
23 | Gentamycin Disc (50 discs tube/vial) |  | 80
24 | Imipenum Disc (50 discs tube/vial) |  | 50
25 | Cefepime Disc (50 Discs Tube/vial) |  | 60
26 | Meropenum Disc (50 discs tube/vial) |  | 80
27 | Methicillin Disc (50 discs tube/vial) |  | 50
28 | Metronidazole |  | 40
29 | Cefotaxime Disc (50 discs tube/ vial) |  | 60
30 | Nalidixic Acid Disc (50 discs tube/vial) |  | 40
31 | Nitrofurantoin Disc (50 discs tube/vial) |  | 80
32 | Clarithromycin Disc (50 discs tube/vial) |  | 20
33 | Norfloxacin Disc (50 discs tube/vial) |  | 80
34 | Novobiocin Disc (50 discs tube/vial) |  | 80
35 | Ofloxacin Disc ( 50 discs tube/vial) |  | 80
36 | Optochin 5 ug Disc (50 discs tube/vial) |  | 50
37 | Penicillin G Disc (50 discs tube/vial) |  | 40
38 | Oxacillin Disc (50 discs tube/vial) |  | 50
39 | Tobramycin Disc (50 discs tube/vial) |  | 40
40 | Doxycyline Disc (50 discs tube/vial) |  | 50
41 | Cefoperazone Disc (50 discs tube/vial) |  | 50
42 | Oxidase Paper (Readymade) |  | 50
43 | Cefpodoxine Disc (50 discs tube/vial) |  | 50
44 | Piperacillin Disc (50 discs tube/vial) |  | 50
45 | Piperacillin Tazobactem Disc (50 discs tube/vial) |  | 80
46 | Polymixin B Disc (50 discs tube/vial) |  | 50
47 | Vancomycin Disc (50 discs tube/vial) |  | 60
48 | Levofloxacin Disc (50 discs tube/vial) |  | 60
49 | Teicoplanin Disc (50 discs tube/vial) |  | 60
50 | Tigecycline (50 discs tube/vial) |  | 10
51 | Linezoid Disc (50 discs tube/vial) |  | 60
52 | Ceftaxizime + clavulanic acid Disc |  | 60
53 | Tetracycline Disc (50 discs tube/vial) |  | 50
54 | Blood Agar Base |  | 3000
55 | BHI Broth |  | 1000
56 | Cled Medium |  | 2000
57 | Macconkey Agar |  | 6000
58 | Muller Hinton Agar |  | 6000
59 | Nutrient Agar |  | 500
60 | Simmon Citrate |  | 1000
61 | TSI Media |  | 1000
62 | Urease Media |  | 1000
63 | SIM Media |  | 1000
64 | MRVP Media |  | 1000
65 | SDA Media |  | 1000
66 | Urea Pure |  | 1000
67 | Kovac' Reagent |  | 500
68 | Agar Powder (extra pure) |  | 500
69 | Ready Prepare BHI Broth with 0.05 sps (20 Ml Vial) |  | 6000
70 | Gram Stain Reagent set (250 ml each vial) |  | 20
71 | ZN/AFB stain |  | 20
72 | Blood culture Bottle Glass (50 ml ) |  | 500
73 | Oxidative/Fermentative Media |  | 500
74 | Highcrome UTI Agar modified medium |  | 500
75 | Straight wire (Nichrome) |  | 12
76 | Innoculating Loop : Diameter 4mm and 2 mm (1 Pack=10 pcs) |  | 20
77 | Anerobic jar |  | 1
78 | Glass lens |  | 2
79 | Wire loop with handle |  | 14
80 | Chromagar (Selective medium for acinetobacter) |  | 1000
81 | Crystal Voilet-Nalidixic acid-Gentamicin Agar |  | 500
82 | Xylose Lysine Deoxycholate Agar |  | 500
83 | MR-VP Medium:a) Methyl red b) Alpha naphthol c) KOH |  | 500
84 | Salmonella Shigella Agar |  | 500
85 | Hugh and Leifson Agar |  | 500
86 | Thiosulfate-Citrate-Bile salts-Sucrose (TCBS) Agar |  | 500
87 | Loop Stand/Holder |  | 2
88 | Nutrient Broth |  | 500
Total
VAT
Grand Total
Evaluation : Lotwise
Lot 6 : PIPETTES
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | 1 ml fixed vol micropippete |  | 4
2 | 100 µl fixed volume Micro-pippette |  | 4
3 | 50 micro l. fixed volume Micro-pipette |  | 4
4 | 10-100 µl fixed volume Micro-pippette |  | 4
5 | Variable vol micropippette 50 -200 microliter |  | 5
6 | Variable volume micropippette 200 - 1000 microliter |  | 4
7 | Variable volume micropippette 5-50 microliter |  | 4
8 | 500 micro l. fixed volume Micro-pipette |  | 3
Note |  |  |  |  | Total
| 1. All the pipettes should be USFDA/European CE approved and manufacturer should be US/European origin. |  |  |  | VAT
| 2. Pipettes should be calibrated by bidder thrice a year free of cost. |  |  |  | Grand Total
Evaluation : Lotwise
Lot 7 : (Lab Reagent ) Haematology Analyzer 3 parts, USFDA Approved
A HAEMATOLOGY ANALYZER 3- PARTS, SYSMEX or equivalent
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Cell Lyzer for sysmex or equivalent Kx 21, 500ml |  | 60
2 | Cell pack for sysmex or equivalent kx 21, 20l pack |  | 60
3 | Hematology control low/normal /high, 3 parts diff 5-5ml set |  | 4
4 | Cell clean 50ml |  | 20
Total
Note: |  |  |  |  | VAT
1. Bidders Should Provide a 3 Parts Hematology Anylazer with UPS free of cost for the contract period. |  |  |  |  | Grand Total
2. Authorization letter Required
3. Bidders should submit commitment letter to provide 24 hour maintenance service of machine
5. Machine and Reagent must be USFDA approved.
Evaluation : Lotwise
Lot 8 : (Lab Reagent ) Haematology Analyzer 5 parts,
HAEMATOLOGY ANALYZER 5- PARTS, US FDA Approved
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Auto clean 40ml |  | 15
2 | Cell Pack DCL (20 ltr) |  | 160
3 | Flurocell 42 ml |  | 70
4 | Lysercell WDF (5 ltr) |  | 45
5 | Sulfolyser 5ltr |  | 15
Total
VAT
Grand Total
Note:
1. One new 5 Parts cell counter(atleast 70tests/hour) should be Provided Free of Cost for the contract period and 1 backup machine of similar throughput (atleast 70test/hour) should be
provided within hospital premises with UPS.
2. Authorization letter Required
3. Bidders should be provide 24 hour maintenance service of machine
4. Price for Installation of LIS connection system for both main and backup machine should be borne by bidder.
5. Machine and Reagent must be USFDA approved.
Evaluation : Lotwise
Lot 9 : (Lab Reagent ) Haematology Analyzer 5 parts,
HAEMATOLOGY ANALYZER 5- PARTS throughput atleast 100tests/hous US FDA Approved
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Auto clean 40ml |  | 15
2 | Cell Pack DCL (20 ltr) |  | 80
3 | Flurocell WDF 42 ml |  | 30
4 | Flurocell WNR 82 ml |  | 5
5 | Lysercell WDF (5 ltr) |  | 35
6 | Lysercell WNR (5 ltr) |  | 3
7 | Sulfolyser 5ltr |  | 13
Total
VAT
Grand Total
Note:
1. One new 5 Parts Machine(atleast 100tests/hour) with UPS should be Provided Free of Cost for the contract period.
2. Authorization letter Required
3. Bidders should submit of commitment letter to be provide 24 hour maintenance service of machine
4. Price for Installation of LIS connection system should be borne by bidder.
5. Analyser and Reagent must be USFDA approved.
6. National or International training or observation for staff should be facilitated by bidder.
Lot 10 : Fully automatic Coagulation (Sysmex or equivalent) US FDA Approved
Evaluation : Lotwise
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | APTT reagent (Activator) |  | 500
2 | Ca cuvette for CA 600 Series |  | 60000
3 | Calcuim Chloride for APTT (15ml vial) |  | 100
4 | Cell Claen I ( 1 bot = 50ml) Symex or equivalent |  | 220
5 | Cell Claen II ( 1 bot=50ml) Symex or equivalent |  | 120
6 | OV Buffer ( 1 Vial + 15ml) Symex or evuivalent |  | 190
7 | PT (ISI 0.9-1.0) Vial size: 1vial=4ml |  | 2000
8 | PT/APTT Abnormal Control Plasma (Level 2) |  | 3
9 | PT/APTT Normal Control Plasma (Level 1) |  | 3
10 | Cuvettes for PT (Manual) |  | 5000
11 | Thrombin reagent (5ml) |  | 50
12 | Multifibrin U (2ml) |  | 40
13 | Standard Human Plasma (1ml) |  | 41
14 | Fibrinogen calibrator kit (1ml) |  | 25
Total
VAT
Grand Total
Note;
1. 2 new Fully automatic Machine with ups should be provided free of cost from first day for the contract period.
2. Authorization letter Required
3. Throughput: atleast 60 tests per hour.
4.Bidders should submit commitment letter to provide 24 hour maintenance service of machine
5. Price for Installation of LIS connection system for both machine should be borne by bidder.
6. Analyser and reagent should be USFDA approved.
7. National or International training or observation for staff should be facilitated by bidder.
Evaluation : Lotwise
Lot 11 : VACCUM COLLECTION SYSTEM
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | 2 ml with 3.2% Tri-Sodium Citrate, vaccum tube |  | 60000
2 | 2-4 ml with Di- or Tri-potassium EDTA, vaccum tube |  | 160000
3 | 6 ml with separator gel and clot activator vaccum tube |  | 200000
4 | Pediatric 3.2% Trisodium citrate vaccum tube |  | 1000
5 | Holder for vaccum collection |  | 100
6 | Vaccum Collection Needle 21 and 22 gauge with flashback |  | 160000
7 | Pediatric Needle(slbcs or Equivalent) |  | 500
8 | Pediatric gel separator and clot activator vaccum tube |  | 1000
9 | Pediatric Di-tri potassium EDTA vaccum tube |  | 1000
Total
VAT
Note, |  |  |  |  | Grand Total
1.Authorization Letter of manufacturing company should be submited for vaccum collection system.
2. All the items mentioned should be USFDA approved except S. No. 5
Evaluation : Lotwise
Lot 12 : Blood Bag (European CE/USFDA Approved)
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Quadruple Blood Bag 450+300+400ml x 2, 16G (CPDA+SAGM) |  | 5000
2 | Single Blood Bag 350ml 16G, (49ml CPDA) 16 |  | 1500
Total
VAT
Note, |  |  |  |  | Grand Total
1.Authorization Letter of manufacturing company should be submited.
Evaluation : Lotwise
Lot 13 : Lab Reagents For CLIA
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Hbsag |  | 500
2 | HCV |  | 500
3 | HIV |  | 500
4 | FT3 |  | 60000
5 | FT4 |  | 60000
6 | TSH |  | 60000
7 | Infectious Control P and N |  | 12
8 | Immunoassay control |  | 12
9 | Ferritin |  | 2000
10 | High Sensitivity Troponin I |  | 1000
11 | Vitamin B12 |  | 5000
12 | Vitamin D |  | 7000
13 | Anti TPO antibody |  | 1500
14 | Anti Hbs antibody |  | 800
Total
VAT
Grand Total
NOTE:
1 | Instrument and Reagent should be USFDA Approved
2 | 1 new Fully automated, software-controlled immunology analyzer of at least 200test/hour with UPS and a new backup machine of throughput at least 100test/hour with UPSor more should be provided free
of cost for the contract period.
3 | The system must have a facility to run STAT.
4 | All consumables required for running listed parameters should be provided free of cost
5 | Bidders should provide user training (including how to use and maintain the equipment)
6 | Bidders should submit commitment letter to provide 24 hour maintenance service of machine
7 | Price for Installation of LIS connection system for both machine should be borne by bidder.
8 | Biphasic LIS should be supported by machine
9 | National or International training or observation for staff should be facilitated by bidder.
Evaluation : Lotwise
Lot 14: Biochemistry
Liquid Chemistry automation
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Albumin |  | 32000
2 | Alkaline Phosphatase |  | 40000
3 | Amylase |  | 4000
4 | calcium |  | 8000
5 | CKMB |  | 30000
6 | CPK |  | 8000
7 | Creatinine (sacrosa) Sox Enzymatic Method |  | 150000
8 | Direct Billirubin |  | 35000
9 | Direct HDL Cholesterol |  | 70000
10 | Glucose (Hexokinase) Method |  | 130000
11 | GOT |  | 40000
12 | GPT |  | 40000
13 | Total Protein |  | 40000
14 | Total Bilirubin |  | 40000
15 | Total Cholestrol |  | 70000
16 | Triglyceride |  | 70000
17 | Urea |  | 120000
18 | Direct LDL |  | 10000
19 | Uric Acid |  | 60000
20 | Magnesium |  | 2000
Total
VAT
Grand Total
Note;
1. System pack reagent Glucose =Hexokinase Method & Creatinine = Enzymatic Method.
2. Machine should be USFDA approved
3. 3 sets of brand new Machines and 1 backup machine with UPS in all machine should be provided free of cost for the contract period
4. All machines should perform at least 400 test per hour.
5. All consumables including wash solution , sample cups, cuvate , cuvate wash, lipid calibrator, multi calibrator should be provided free of cost
6. 2 New Distillation Plant with 2 white coloured atleast 300litre water tank should be provided free of cost.
7. Authorization letter Required
8.Bidders should submit letter to provide 24 hour maintenance service of machine
9. Price for Installation of LIS connection system for all 4 machines should be borne by bidder
10. Biphasic LIS should be supported by machine without error.
11. National or International training or observation for staff should be facilitated by bidder.
Evaluation : Lotwise
Lot 15:Miscellaneous (itemwise evaluation)
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Troponin I(Qualitative) |  | 32000
Total
| 1. Authorization letter Required |  |  |  | VAT
| 2.Sensitivity <0.5 ng/ml |  |  |  | Grand Total
3. Product should be USFDA/Eurpoean CE approved
Lot 16: Biochemistry
Evaluation : Lotwise
Biochemistry Automation
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Albumin |  | 2000
2 | Alkaline Phosphatase |  | 2000
3 | Calcium |  | 2000
4 | CKMB |  | 2000
5 | Creatinine- Sox Enzymatic Method |  | 30000
6 | Direct Billirubin |  | 5000
7 | Direct HDL Cholesterol |  | 10000
8 | Glucose- Hexokinase |  | 30000
9 | GOT |  | 5000
10 | GPT |  | 5000
11 | Total Protein |  | 5000
12 | Total Bilirubin |  | 5000
13 | Serum Iron |  | 5000
14 | UIBC/TIBC |  | 5000
15 | Transferrin |  | 5000
16 | Total Cholestrol |  | 10000
17 | Triglyceride |  | 10000
18 | Uric Acid |  | 5000
19 | Urea |  | 20000
Total
VAT
Grand Total
Note:
1. Machine and Reagents should be USFDA approved
2.The instrument should have capacity of atleast 250 test per hour
3. Machine should be provided free of cost with UPS for a contract period
4. Bidders should provide all consumables items required to run the listed parametes free of cost
5. Bidders should provide commitment letter to provide 24 hour maintenance service of machine
6. Price for Installation of LIS connection system should be borne by bidder
7. Distillation plant and UPS backup system should be provided free of cost by the bidder
Evaluation : Iotwise
Lot 17: Miscellaneous
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | BIO RAD or Randox control (12 botl per set) |  | 10
2 | BIO RAD or Randox control (12 botl per set) |  | 10
Total
VAT
Grand Total
Evaluation : Iotwise
Lot 18 : Miscellaneous
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Uristix (100 Tests) |  | 45000
2 | Multistix (100 Tests) |  | 100
Total
VAT
Grand Total
1. Authorization letter Required
2. Product should be USFDA/CE approved
Evaluation : Itemwise
Lot 19 : Miscellaneous
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Bactec Bottle/ Blood C/S Bottle |  | 2000
Total
VAT
Grand Total
1.Authorization letter Required
2.Machine should be Provided free of cost with UPS for a contract period
3.Machine should be USFDA/CE approved.
Evaluation : Lotwise
Lot 20 : FIA System/ FIA Meter
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Troponin I Quantitative |  | 3000
2 | BNP (Nt-PRoBNP) |  | 21000
3 | HSCRP |  | 200
4 | HBAIC |  | 500
5 | Urine microalbumin |  | 600
6 | Procalcitonin |  | 7000
7 | Quantitative CRP |  | 6000
8 | D_dimer |  | 1200
Total
VAT
Grand Total
1.Machine should have At Least 20 sample running capability at one time
2. USFDA/European CE Approved
3. Reagent should be stable in room temperature
4. Authorization letter Required
5.Measuring Range Troponin -0.1-50ng/ml,NT_Pro BNP -18-35000pg/ml,HS-CRP-0.1-10mg/l,PCT-0.1-100 ng/ml,D-Dimmer; 0.-10mg/l
6.Two new machine with UPS should be provided free of cost for a contract period
7. Bidders should submit commitment letter toprovide 24 hour maintenance service of machine
8. Control and calibrators should be provided free of cost
Evaluation : Lotwise
Lot 21 : Lab Reagents For CLIA
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Hbsag |  | 20000
2 | HCV |  | 20000
3 | HIV |  | 20000
4 | Infectious control |  | 12
5 | NT_Pro BNP |  | 450
6 | Renin |  | 200
7 | Aldosterone |  | 200
8 | ACTH |  | 200
Total
VAT
Note |  |  |  |  | Grand Total
1 | Machine and Reagents should be USFDA/ Europen CE approved
2 | Bidders should provide a machine with UPS free of cost for a contract period.
3 | One brand new machine must performed at least 100 Test Per Hour
4 | All consumable items required to run the listed parametes should be provided free of cost along with QC & Calibrator.
5 | Bidders should submit commitment letter to provide 24 hour maintenance service of machine
6 | Price for Installation of LIS connection system should be borne by bidder
7 | Biphasic LIS should be supported by machine
8 | Pack size for Renin, Aldosterone & ACTH should be of 50 test /pack.
Evaluation : Lotwise
Lot 22 :Electrolyte Reagent
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Electrolyte Reagent Set (Min. 1 set = 750 tests) |  | 300
Total
VAT
Grand Total
Note:
1.Machine should have throughput of 100 sample /hour with stat mode.
3.Minimum of 40 sample can be kept in single run
2.Four sets of brand new machines should be provided free of cost for the contract period.
4. Analyser should be CE / USFDA Approved
5.Authorization letter required
6. Sample level Auto-detection
7.Barcode Reading System For LIS
8. Bidders should provide 24 hours maintenance service.
9. Price for Installation of LIS connection system for all 4 machines should be borne by bidder
Evaluation : Lotwise
Lot 23 : Reagent for JOKOH
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Standard solution 1 |  | 30
2 | Standard solution 2 |  | 30
3 | Urine diluent |  | 5
4 | Urine calibrator |  | 5
5 | Sample cup |  | 6000
Total
VAT
Note |  |  |  |  | Grand Total
1pack= 800 test
Evaluation : Lotwise
Lot.24 : Rapid Test Kit
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Syphilis Rapid Test Device |  | 10000
2 | Tuberculosis antibody Rapid Test Device |  | 200
3 | Dengue Rapid Test Device |  | 1500
4 | Malaria Rapid Test Device |  | 200
5 | Scrub Typhus Rapid Test Device |  | 200
6 | Leishmania Rapid Test Device |  | 200
7 | Brucella antibody Rapid Test Device |  | 200
8 | Leptospira antibody Rapid Test Device |  | 200
9 | Campylobacter Rapid test device |  | 200
10 | H.pylori Antigen Rapid Test Device |  | 200
11 | H.pylori Antibody Rapid Test Device |  | 200
Total
VAT
Grand Total
Evaluation : Lotwise
Lot 25 :EQAS-USFDA Approved-1 Year Program
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Eqas Clinical Chemistry (Including cardiac markers) |  | 1
2 | Eqas Hematology |  | 1
3 | Eqas Infectious pannel (HIV,HBsAg, HCV) |  | 1
4 | Eqas Immunoassay (For TFT) |  | 1
5 | Eqas HBA1C |  | 1
6 | Eqas Coagulation |  | 1
Total
VAT
Grand Total
Evaluation: 31
Lot 26: ESR automation
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Eqas Clinical Chemistry (Including cardiac markers) |  | 15000
1. Two new Automated ESR machine with UPS should provide free of cost for the period of contract |  |  |  |  | Total
2. Product should be CE/USFDA approved |  |  |  |  | VAT
3. All consumables should be provided free of cost |  |  |  |  | Grand Total
4. Cost of LIS should be borne by bidder.
Evaluation item wise
Lot 27 Other Lab related items and reagents.
Lot NO. | Description | Country of | Quantity | Unit Price |  | Total price (in NRs)
(in NRs)
|  |  |  | In Figure | In Words
| 2 | 3 | 4 | 5 |  | 4x5=6
1 | Semi Automated Biochemistry Analyser 1. Product should be CE certified 2. Product should have on board thermal printer 3. One attached or inbuilt incubation should be provided having at least 12 cuvette capacity along with machine 4. Display should be touch screen 5. Multipoint calibration system and graphical representation should be present. 6. USB connectivity to external printer and pC should be present 7. Comprehensive Warranty of 3 years should be provided |  | 1
2 | Urine VMA |  | 300
3 | LDH (25ml pack size) |  | 10
4 | ADA |  | 10
5 | High Speed Centrifuse 1. Product should be CE certified 2. Product should have micro computer control and electronic lock and AC variable conversion motor 3. Product should have feature of unbalace cutoff with indication 4. Minimum speed should be 4000rpm 5.Tube capacity should be at least 90 tube capacity 6. Comprehensive Warranty of 3 years should be provided |  | 1
6 | Microscope 1. Binocular microscope with USFDA certification. 2. Blue ray filter should be provided 3. Comprehensive Warranty of 1 years should be provided |  | 1
7 | CBC Roller |  | 2
8 | Rotary Shaker (VDRL Shaker) |  | 2
9 | Dry Water Bath of capacity more than 15 tubes |  | 2
10 | Electric Plate Heater for Microbiology 1. Power indicator should be present 2. Heat control knob or switch should be present to adjust required temperature 3. Digital display should be present 4. Hot top indicator should be present |  | 2
11 | Bench top centrifuge 1. Product should be CE certified 2. Tube capacity should be at least 45 tube. 3. Product should have feature of unbalace cutoff with indication 4. Minimum speed should be 4000rpm 5.Product should be carbon free 6. Comprehensive Warranty of 2 years should be provided
12 | Phosphate Buffer Saline |  | 33000
Total
VAT
Grand Total
Name: --------------------------------------------
In the capacity of: ---------------------------------
Signed: -------------------------------------------
Duly authorized to sign the Bid for and on behalf of: --------------------------------------------------
Date:---------------------------------------------------