## Sheet2 (2)
The Bidder shall fill in these Price Schedule Forms in accordance with the instructions indicated. The list of line items in column 1
of the Price Schedules shall coincide with the List of Goods and Related Services specified by the Purchaser in the Schedule of Requirements
Name of Bidder _____________________ Invitation for Bid No.: ___________
Lot 1 : Surgical Disposables Items (Disinfection & Cleaning Related) Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Chlorohexidine swab 2.5% v/v) | 3000 | pcs
2 | Cidex Gluteraldehyde solution 2.45% (1 gal=5 ltr.) with 3pcs cidex tray free and with MEC strips free | 250 | gal
3 | Cidex OPA: Ortho-phthaladehyde 0.55%,Inert ingridients 99.45 %( Dipotassium hydrogen phosphate, potassium hydrogen phosphate, benzotriazole,citric acid,D&C green dye no.5,N( hydroxyethyl)- ethylene diaminetriacetic acid( HEDTAL ) with MEC strips free Does not require activation before use. | 70 | Gal.
4 | Cidezyme enzymatic Detergent (as per sample) | 300 | lt.
5 | Complex Formulation Of Stabilized Hydrogen Peroxide 11%w/v with 0.01% w/v Dilutate Silver Nitrate Solution (1 bottle =1ltr) | 250 | lt.
6 | Cutarub (contains Chlorohexidine 2% and Ethyl 80% 100ml | 1000 | bot.
7 | Cutarub (contains Chlorohexidine 2% and Ethyl 80% 500ml | 2000 | botl
8 | Effervescent Disinfectant & cleaing tablets (1.67g NaDCC sodium Dichloroisocyanurate/Troclosene sodium) per tablet | 50000 | tab
9 | Effervescent Disinfectant & cleaing tablets (1.68gm NaDCC sodium Dichloroisocyanurate/Troclosene sodium) per tablet | 3000 | tab
10 | Handrub (above 60% v/v ethynal alcohol) must contain chlorohexadine 2.5% should provide (1 Gallon = 5 Ltr ) | 800 | Gallon
11 | Handrub (above 60% v/v ethynal alcohol) with dispensary 100 ml must contain chlorohexadine 2.5% | 10000 | bot.
12 | Handrub (above 60% v/v ethynal alcohol) with dispensary 500 ml must contain chlorohexadine 2.5% should provide bottle holder 50 pcs. | 3500 | bot.
13 | Instrument Disinfectant Aldehyde based sterilizer 100 g Contains Glurtariadhyde 15.2g, Dihydoxy Dioxahexane 0.7 | 50 | bottel
14 | Instrument Disinfectant 1000ml concentrated solution;100g contain cocospropylene diamine 20g, surfactants, solvents, complexing agent, colourants & aldehyde free | 25 | botl
15 | Povidone-Iodine solution surgical handwash iodine LP 7.5% w/v Equivalent to 0.75% w/v500ml | 3000 | bot.
16 | Povidone-Iodione solution Antiseptic solution iodine LP 10% w/v Eequivalent to 1% w/v500ml | 6000 | bot
17 | Critic Acid 5ltr jar | 25 | Jar
18 | Spirit 400ml (Rectified) as per sample | 4500 | bot.
19 | Part A for Hemodialysis (5ltr) | 150 | Jar
20 | Part B for Hemodialysis (5ltr) | 150 | Jar
21 | AV Tubing | 150 | pcs
Total
Vat
Grand Total
Lot .2 : Surgical Disposables Items (Tissue, Wipes, Diaper) Lotwise Evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Baby wipes (min 50pcs) alcohol free | 10000 | pkt
2 | Diaper adult size Large | 7000 | pcs
3 | Diaper adult size Medium | 7000 | pcs
4 | Diaper adult size X-large | 7000 | pcs
5 | Diaper baby size Large | 6000 | pcs
6 | Diaper Baby size Medium | 7000 | pcs
7 | Diaper Baby size Small | 7000 | pcs
8 | Diaper Baby size XXL | 7000 | pcs
9 | Sanitary Pad equivalent to whisper or safety | 5000 | pcs
10 | Tissue Rolls 60gm soft with virgin paper (pkt in 10 rolls) branded | 40000 | Rolls
11 | Chlorhexidine Wipes 32x24 , 10pcs Pkt | 2400 | pkt
Total
Vat
Grand Total
Lot 3: Syringe, Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Syringe 3 ml with needle as per sample | 250000 | pc
2 | Syringe 5 ml with needle as per sample | 500000 | pc
3 | Syringe 10 ml with needle as per sample | 500000 | pc
4 | Syringe 5 ml with luer lock with needle (compatible all syringe pump ) | 1500 | pc
5 | Syringe 10ml (Luer Lock) with needle, compatible with all syringe pump | 20000 | pc
6 | Syringe 20ml with plastic tip without luerlock compatible with all types of syringe pump | 30000 | pc
7 | Syringe 50ml (Luer Lock) compatible with all types of syringe pump | 40000 | pc
8 | Syringe 20ml with plastic tip with luerlock compatible with all types of syringe pump | 50000 | pc
Total
Vat
Grand Total
Lot 4: Surgical Disposables Items(Circuit Related) Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Anesthesia Ventilator Circuit adult size ( USFDA or CE approved and must include resesrvoir bag and tube) | 2500 | pcs
2 | Anesthesia Ventilator Circuit children size (USFDA or CE approved and must include resesrvoir bag and tube) | 1000 | pcs
3 | Anesthesia Ventilator Circuit infant & Neonates size (USFDA or CE approved and must include resesrvoir bag and tube) | 200 | pcs
4 | Disposable ICU ventilator circuit Adult, The circuit should be USFDA & CE approved; should be packed in sterile packet and period of sterility should be mentioned in the pack; must be disposable humidifier chamber; circuit should be able to evaporate water collected in circuit & diffuse out. The company should provide 10 pcs of the heater wire adapter when selected.) | 300 | pcs
5 | Disposable ICU ventilator circuit Neonate, The circuit should be USFDA & CE approved; should be packed in sterile packet and period of sterility should be mentioned in the pack; must be disposable humidifier chamber; circuit should be able to evaporate water collected in circuit & diffuse out. The company should provide 10pcs of the heater wire adapter when selected.) | 100 | pcs
6 | Disposable ICU ventilator circuit Paediatric, The circuit should be USFDA & CE approved; should be packed in sterile packet and period of sterility should be mentioned in the pack; must be disposable humidifier chamber; circuit should be able to evaporate water collected in circuit & diffuse out. The company should provide 15pcs of the heater wire adapter when selected.) | 500 | pcs
7 | HME DEHP free Heat & Moisture Exchange Filters HMEF (Adult ,size )HEPA Bacterial & Viral Filter 99.99 TV 150-1200 Sterile Pack USFDA approved | 4000 | pcs
8 | HME DEHP free Heat & Moisture Exchange Filters HMEF (Neonate. ,size )HEPA Bacterial & Viral Filter 99.99 TV 30-70 Sterile Pack USFDA approved | 150 | pcs
9 | HME DEHP free Heat & Moisture Exchange Filters HMEF (Pead. ,size )HEPA Bacterial & Viral Filter 99.99 TV 70-150 Sterile Pack USFDA approved | 500 | pcs
Total
Vat
Grand Total
Lot.5 : Surgical Gloves for OT (Minimum weight 1 Pair gloves = 19.6g for size of 6.5 without cover)
Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Surgical gloves No. 5.5 (Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2.) | 1000 | pair
2 | Surgical gloves No. 6 (Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2.) | 20000 | pair
3 | Surgical gloves No. 6.5 (Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2.) | 20000 | pair
4 | Surgical gloves No. 7 Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2. | 30000 | pair
5 | Surgical gloves No.7.5 Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2. | 15000 | pair
Total
Vat
Grand Total
Lot.6 : Surgical Gloves
Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Surgical gloves No. 6 (Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2.) | 15000 | pair
2 | Surgical gloves No. 6.5(Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2.) | 20000 | pair
3 | Surgical gloves No. 7 Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2. | 30000 | pair
4 | Surgical gloves No.7.5 Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2. | 6000 | pair
Lot.7 : Loose Gloves
Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Loose gloves small, medium diff. size Quality standard must have ASTM D 3578, EN,455;ISO Certified . Thickness : Palm: 0.08 mm : finger : 0.08 mm; length : 240 mm Force at break : 6.0 N before ageing/after ageing. Total Protein content <200 mcg/dm2; powder content <10 mcg/dm2. | 2500000 | pcs
Total
Vat
Grand Total
Shahid Gangalal National Heart Center
Bansbari, Kathmandu
Fiscal Year 2081/82
Lot 8 : Chest Drainage Catheter, Lotwise evaluation
Note: Chest Drainage Catheter should be
• Distal end is open with super smooth larger eyes to maximize the drainage from the chest.
•.Edges should be smooth
• Connector should be available for each catheter
• Proximal end is fitted with specially designed tapered tongue.
• Catheters are marked at every 2cm from the last eye to ascertain the depth of placement.
• Doubly packed in sterile transparent peelable pack.
• Should be soft but Maintain lumen patency.
• Should be available in all sizes.
• Samples should be provided before the bid. Final selection of the product will be done only after inspecting the sample. This sample will be preserved for future reference.
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
S.No. | Description | Estimated Qty F/Y 081/82 | Unit | Purchase | Stock | Estimate Qty for 082/83
1 | Chest drainage catheter 14 FR. Double layer sterilized cover (as per sample) | 1000 | pcs
2 | Chest drainage catheter 16FR. (Double layer sterilized cover(as per sample) | 1000 | pc
3 | Chest drainage catheter 18FR. Double layer sterilized cover | 1000 | pc
4 | Chest drainage catheter 20FR. Double layer sterilized cover (as per sample) | 500 | pc
5 | Chest drainage catheter 24FR. (as Double layer sterilized cover per sample) | 600 | pc
6 | Chest drainage catheter 28FR. (as Double layer sterilized cover per sample) | 5000 | pc
7 | Chest drainage catheter 30FR. (as Double layer sterilized cover per sample) | 200 | pc
8 | Chest drainage catheter 32FR. Double layer sterilized cover (as per sample) | 50 | pcs
Total
Vat
Grand Total
Shahid Gangalal National Heart Center
Bansbari, Kathmandu
Fiscal Year 2081/82
Lot 9: Suction Catheter, Lotwise evaluation (Suction catheter should be ISO & CE approvrd)
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Suction catheter size 4Fr (Thumb control suction tube) as per sample | 150 | pc
2 | Suction catheter size 10Fr (Thumb control suction tube) as per sample(As per sample) | 1000 | pc
3 | Suction catheter size 12Fr (Thumb control suction tube) as per sample | 1000 | pcs
4 | Suction catheter size 14Fr (Thumb control suction tube) as per sample | 1500 | pc
5 | Suction catheter size 6Fr (Thumb control suction tube) as per sample | 4000 | pc
6 | Suction catheter size 8Fr (Thumb control suction tube) as per sample | 4000 | pc
Total
Vat
Grand Total
Shahid Gangalal National Heart Center
Bansbari, Kathmandu
Fiscal Year 2082/83
Lot. 10 : E.T. Tube, Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Endotracheal Tube uncuff No 2.5 | 20 | pc
2 | Endotracheal Tube uncuff No 3.0 | 80 | pcs
3 | Endotracheal Tube uncuff No 3.5 | 50 | pcs
Total
Vat
Grand Total
Shahid Gangalal National Heart Center
Bansbari, Kathmandu
Fiscal Year 2082/83
Lot 11: E.T. Tube with Subsglotic Suction, Lotwise evaluation ,Adult Size
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | E. T Tube with subsglotic suction facility 6.0 | 15 | pc
2 | E. T Tube with subsglotic suction facility 6.5 | 15 | pc
3 | E.T.Tube with subsglostic suction facility 8.0 | 20 | pc
4 | E. T Tube with subsglotic suction facility 7.0 | 500 | pc
5 | E. T Tube with subsglotic suction facility 7.5 | 500 | pc
Total
Vat
Grand Total
Lot. 12 : E.T. Tube, US FDA approved,15mm universal connector radioopaque line for x-ray visibility ,medical grade PVC or silicon cuff intergrity tasted sterile packging , Iotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Endotracheal Tube with cuff No 2.5 | 150 | pc
2 | Endotracheal Tube with cuff No 3.0 | 500 | pc
3 | Endotracheal Tube with cuff No 3.5 | 800 | pc
4 | Endotracheal Tube with cuff No 4.0 | 400 | pc
5 | Endotracheal Tube with cuff No 4.5 | 400 | pc
6 | Endotracheal Tube with cuff No 5.0 | 300 | pc
7 | Endotracheal Tube with cuff No 5.5 | 100 | pc
8 | Endotracheal Tube with cuff No 6.5 | 400 | pc
9 | Endotracheal Tube with cuff No 7.0 | 1200 | pc
10 | Endotracheal Tube with cuff No 7.5 | 2000 | pc
11 | Endotracheal Tube with cuff No 8.0 | 100 | pc
Total
Vat
Grand Total
Lot 13: Tracheostomy Tube, Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Tracheostomy tube disposable with cuff No 2.5 | 10 | pcs
2 | Tracheostomy tube disposable with cuff No 3.0 | 20 | pcs
3 | Tracheostomy tube disposable with cuff No 3.5 | 40 | pcs
4 | Tracheostomy tube disposable with cuff No 4.0 | 20 | pcs
5 | Tracheostomy tube disposable with cuff No 4.5 | 10 | pcs
6 | Tracheostomy tube disposable with cuff No 5.0 | 10 | pcs
7 | Tracheostomy tube disposable with cuff No 5.5 | 5 | pcs
8 | Tracheostomy tube disposable with cuff No 6 | 5 | pcs
9 | Tracheostomy tube disposable with cuff No 6.5 | 5 | pcs
10 | Tracheostomy tube disposable with cuff No 7 | 5 | pcs
11 | Tracheostomy tube disposable with cuff No 7.5 | 5 | pcs
12 | Tracheostomy tube with Subglostic suction No 6.5 | 5 | pcs
13 | Tracheostomy tube with Subglostic suction No 7 | 5 | pcs
14 | Tracheostomy tube with Subglostic suction No 7.5 | 5 | pcs
15 | Tracheostomy tube with Subglostic suction No 8 | 5 | pcs
Total
Vat
Grand Total
Lot. 14. : Surgical & Medical Disposables Items (Medical Gadgets & Accessories- original ) Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | 12 lead ECG cable Nihon Koden machine | 40 | pcs
2 | 3 lead ECG electrode cable for NihonKoden | 10 | pcs
3 | Clip on Limb electrode 4 pcs set, for NK | 15 | set
4 | Defi pad disposable Adult/Pead for Nihon Kohden defib machine | 50 | pcs
5 | Defibrilator back up battery for Nihon Kohden Machine) | 20 | pcs
6 | Defibrilator ECG Cable For N.K | 10 | pcs
7 | Defibrilator paper Nihon Kohden Difi. machine) (300 sheet=1pkt) | 50 | pkt
8 | ECG Chest bulb NK (6pcs = 1 set) | 20 | set
9 | ECG machine back up battery for Nihon Koden | 15 | pcs
10 | Multimed with 3 lead ECG Cable, NIBP cable ,Temprature Probe, original spo2 probe, spo2 Extension cable with cord & probe for Philips, Nihon Koden, Drager, Simens, GE, Comen Monitor or equivalent | 40 | set
11 | Limb ECG Electrodes For Peadiatric N.K | 10 | set
Total
Vat
Grand Total
LOT : 15 ETO PAPER
Lotwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | ETO Paper 150MM X 200M | 60 | roll
2 | ETO Paper 100MM X 200M | 70 | roll
3 | ETO Paper 300MM X 200M | 60 | roll
4 | ETO Paper 200MM x 200M | 40 | roll
Total
Vat
Grand Total
Lot 16 : Surgical Items (Drape, Gown, Mask & Cap and other) Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | Cathlab Drape (Double hole Drape with Absorbent Pad Surroundry the whole Size 300cm Lenth,160cm breath./Lead Cover Manage with Elastic./Absorbent Wrapper 3 pcs.Size hight 225cm,Breath-133cm) | 12000 | pcs
2 | CV incise drape Adult M valve & othes (103.5 x142.5" x75.5" x 264cm x363cm x193cm with pouches Heavy duty fabric tube holders. (Viral Barrier) | 2000 | pc
3 | CV incise Drape standard size (pediatric) Heavy Duty Fabric , Reinforcement,tube holders (viral Barrier) | 1000 | pc
4 | Disp.Cap (Bouffant & Surgen’s (Male) as per sample | 75000 | pcs
5 | Disp.Cap (Bouffant & Surgen’s (Female) as per sample | 75000 | pcs
6 | Disposable Eye Towel | 1000 | pcs
7 | Disposable Mask with nasal clip and Long lace as per sample | 40000 | pcs
8 | Disposable Surgery Gown as per sample(For OT | 25000 | pcs
9 | Disposable Surgery Gown as per sample(For Cath lab) | 20000 | pcs
10 | Disposable Surgical Mask 3 Ply with ear loop as per sample | 20000 | pcs
11 | I/O DRAPE LARGE | 3000 | pcs
12 | I/O DRAPE SMALL | 500 | pcs
Total
Vat
Grand Total
Lot 17 : Surgical Items Itemwise evaluation
Item | Description | Quantity | Unit | Unit Price (In Nrs) |  | Total price (in NRs) (cols. 3x5)
|  |  |  | In Figure | In Words
1 | 2 | 3 | 4 | 5 |  | 3X5=6
1 | C-Arm Cover (Size 120X120cm) | 800 | pcs
2 | Viral Set (Drape set) | 20 | set
3 | Hospital Curtain Track System Double section track with roller wheel hooks, pipe and net with upper side as per sample. All the fittings fixtures and required materials included (2or more than pcs curtain in 1 set) and should maintain free of cost for 1 year. | 60 | set
4 | Shoe cover plastic disposable thick layer sole as per sample | 10000 | pcs
5 | Sterile Disposable CABG Drape 1. Low-linting, absorbent fabric laminated to a plastic film. 2. Should soak spills and splatters. 3. No fluid strike through 4. Absorbent throughout the entire drape. 5. Iodine impregnated/ clear incise zone both for the legs and chest. 6. Should have the following parts. • Foot cover with sticky / elastic edges at the ankle. • Beneath the legs sheet which has extension to groin cover and to sides of the abdomen and chest. Should also cover the bottom edge of OT table. • Sticky side covers; which should stick from the shoulders up to the ankles and also cover the sides of OT table. • Head cover with sticky edge to cover neck and shoulders up the anesthesia side. • Overall cover with Incise zone in the chest Incise zone in both legs Expansion pleat between legs Anesthesia screen Bilateral side pockets Tubing holders • The supplied samples will be examined and minor variations can be made to fulfill our requirements before the particular product is chosen. • The selected final sample will be preserved for future references. Extra Sheets- 2 pc | 200 | pc
6 | USG GUIDED DRAPE DISPOSABLE | 4000 | PCS
7 | Gauge Cutting Hand Machine as per sample | 1 | PCS
8 | Diaper weighing Machine | 5 | PCS
Total
Vat
Grand Total
Note:
Supplier should provide sample of all the quoted items at the time of tender opening date before 2:00pm. Without proper sample suppliers are disqualified for evaluation process.
Name: --------------------------------------------
In the capacity of: ---------------------------------
Signed: -------------------------------------------
Duly authorized to sign the Bid for and on behalf of: --------------------------------------------------
Date: ---------------------------------------------------